## Slide 1: LTG Conference
Health and Safety
Lee Simcox
Safeguarding
Caroline Kendall

## Slide 2
There are 3 things that are needed for a fire to exist.
Together they are called…
The fire circle
The fire triangle
The fire square
The fire tetrahedron
1
A
C
B
D

## Slide 3
One of Pete’s projectors has caught fire!
Which type of fire extinguisher can be used to fight the fire?
Water
Foam
Carbon dioxide
Powder
2
A
C
B
D

## Slide 4
How quickly do people have to run to escape from the building?
3

## Slide 5
How many trained first aiders do we need in the theatre?
4
At least 1 at all times
1 for every 100 customers
1 for every 15 staff members
None
A
C
B
D

## Slide 6
What PPE does Rod need when he goes up in the scissor lift?
5
Hard hat
Harness
Gloves
Safety boots
A
C
B
D

## Slide 8
https://littletheatreguild.org/wp-content/uploads/2019/03/rusafe.pdf

## Slide 9
https://www.gov.uk/government/publications/fire-safety-risk-assessment-theatres-cinemas-and-similar-premises

## Slide 10
What are the legal requirements?
Carry out risk assessments (COSHH, WAH)
Inspection of lifting equipment (Lifts, powered access, winches, accessories)
Gas safety checks
Inspection of fixed wiring installation
Check electrical equipment is in good condition
Ensure equipment is safe and is maintained
Provide PPE to control risks
Have an asbestos management plan
Food safety & hygiene
Carry out fire risk assessment
Fire alarm test – weekly
Fire alarm service – annual
Fire extinguisher service – annual
Emergency lighting test – monthly
Plan for an emergency
Provide information, instruction and training
Fire safety measures

## Slide 11
Emergencies

## Slide 12
Emergencies
Fire
Flood
Public disorder
Bomb threat
Medical incident
Gas leak

## Slide 13
Emergency Plan
SHOW STOP – how live performances will be stopped
Prepared in a written plan – details in fire safety guidance
Good communication is essential!
Where and what?
Detection of the emergency
Alerting staff and assessing the situation
Evacuation if necessary
Evacuation procedure
How the evacuation of the premises should be carried out
The role of specific people
Identification of key escape routes
How the emergency services will be called
Assembly point
Location of key equipment

## Slide 14
Risk Assessments
General
Fire
Production
Fire hazards
Fire precautions
Building specific:
Electricity
First aid
Safeguarding
Noise
Slips, trips and falls
Ventilation
Hazardous substances
Work at height
Use of equipment
Production specific:
Set planning
Stability of scenery
Flame retardancy
Rostra
Rigging
Moving set/furniture/props
Slips, trips and falls
Special effects

## Slide 15: Fire Risk Assessment
Major flaws in the fire alarm and detection system
Unsuitable escape routes
Curtains and chairs not fire retardant

## Slide 16: Fire Risk Assessment
Identify fire hazards
Means of escape
LOCATION
TYPE
Bar
Lounge
Auditorium
Studio
Electricals
Flammables
Combustibles
Escape routes
Travel distances
Exits
Fire resisting construction
Compartmentation
Fire doors
Emergency lighting
Fire safety signage
Fire alarm and detection system
Fire extinguishing systems
Management of fire safety
Evacuation strategy
Training and drills
Testing and recording

## Slide 17
First Aid
Provide adequate and appropriate equipment, facilities and personnel
Stocked first aid kit
All components in date
Automated external defibrillator
Who?
Minimum at least one first aid trained person present during a performance
Ideally Front of House Manager
Stage Manager
First aid training:
Emergency First Aid at Work (1 day)
First Aid at Work (3 day)
NO legal duty to make first aid provision for non-employees – HOWEVER duty of care

## Slide 18
Martyn’s Law
Terrorism (Protection of Premises) Act 2025
Am I affected?
Capacity less than 200 = not in scope
Capacity 200 – 799 = standard tier
What do I have to do?
Notify the regulator (SIA)
Put in place appropriate public protection procedures
No requirement for physical measures (at standard tier)
April 2027
When?

## Slide 19: Safeguarding

## Slide 21: Thank you!
H&S
Lee Simcox
l.simcox@hotmail.co.uk
Safeguarding
Caroline Kendall
carolinekendall069@gmail.com
Safeguarding for everyone, everyone looking out for each other!